HG IT SOLUTIONS TECHNICAL LIBRARY

# Data Center Site Survey Checklist

A practical field checklist for assessing an existing or proposed data center / IT room before design, installation, migration, upgrade, or handover.

| Customer / Organization | ________________________________ | Survey Date | ________________________________ |
| --- | --- | --- | --- |
| Site / Building | ________________________________ | City / Location | ________________________________ |
| Surveyed By | ________________________________ | Customer Contact | ________________________________ |
| Project / Reference | ________________________________ | Survey Type | ________________________________ |

Use this checklist to capture site facts and evidence. Approved scope, customer requirements, project standards, safety rules, manufacturer guidance, and local regulations take precedence. Mark N/A where a check does not apply; do not guess.

SURVEY OBJECTIVES

| ☐ New data center / IT room | ☐ Expansion / upgrade |
| --- | --- |
| ☐ Rack or cabinet installation | ☐ Network / server deployment |
| ☐ Structured cabling / fiber | ☐ Power / UPS / PDU review |
| ☐ Cooling / environmental review | ☐ Migration / relocation |
| ☐ DCIM / documentation baseline | ☐ Handover / acceptance review |

PRE-SURVEY DOCUMENTS AND ACCESS

| ☐ Approved scope / BOQ available | ☐ Latest floor plan / layout available |
| --- | --- |
| ☐ Single-line power diagram available | ☐ Rack elevation / equipment list available |
| ☐ Network / cabling drawings available | ☐ Access approval / permit confirmed |
| ☐ Restricted areas identified | ☐ Photography permission confirmed |
| ☐ Site safety induction completed | ☐ Required escorts / keys / badges arranged |

INITIAL OBSERVATIONS

| Item | Status / Existing Condition | Evidence / Reference |
| --- | --- | --- |
| Room use and operational status |  |  |
| Main constraints / risks observed |  |  |
| Planned work window / outage limits |  |  |
| Dependencies / third-party interfaces |  |  |

01 - ROOM, LAYOUT AND PHYSICAL ENVIRONMENT

# Space and Infrastructure Survey

| ☐ Room dimensions measured / verified | ☐ Ceiling height recorded |
| --- | --- |
| ☐ Raised floor present and height recorded | ☐ Floor loading information available |
| ☐ Rack rows / hot-cold aisle orientation recorded | ☐ Clearances and maintenance access checked |
| ☐ Doors / corridors / lift route measured | ☐ Equipment delivery route photographed |
| ☐ Water sources / drain lines identified | ☐ Windows / external exposure identified |
| ☐ Dust / construction activity observed | ☐ Housekeeping and storage condition recorded |

| Measurement / Item | Existing | Required / Planned | Remarks |
| --- | --- | --- | --- |
| Room L x W x H |  |  |  |
| Raised floor height |  |  |  |
| Door clear opening W x H |  |  |  |
| Largest delivery route restriction |  |  |  |
| Available rack positions |  |  |  |
| Spare floor / expansion area |  |  |  |

RACK AND CABINET INVENTORY

| Rack ID | Size / U | W x D | Occupied U | Free U | Power Feed | Network / Role | Condition |
| --- | --- | --- | --- | --- | --- | --- | --- |

Record rack IDs exactly as found on site. If labels are missing or inconsistent, note the issue for correction rather than creating an unapproved naming scheme during the survey.

02 - ELECTRICAL POWER AND GROUNDING

# Power, UPS and PDU Survey

| ☐ Utility / building source identified | ☐ UPS source and redundancy arrangement recorded |
| --- | --- |
| ☐ Generator / backup source confirmed where applicable | ☐ Distribution boards / breakers identified |
| ☐ Rack A/B feeds identified | ☐ PDU type and outlet types recorded |
| ☐ Available spare outlets / breakers recorded | ☐ Equipment plug types checked |
| ☐ Voltage / phase information recorded from approved source | ☐ Earthing / bonding arrangement observed |
| ☐ Emergency power-off arrangement identified if present | ☐ Power labels and circuit references photographed |

| Rack / Load | Feed A Source | Feed B Source | PDU / Outlet | Breaker / Rating | Observed Load | Spare Capacity | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |

GROUNDING / BONDING

| Check | Status | Evidence / Measurement | Action |
| --- | --- | --- | --- |
| Main grounding / bonding point identified |  |  |  |
| Rack bonding present |  |  |  |
| Cable tray / metallic pathway bonding observed |  |  |  |
| Ground labels / conductor condition acceptable |  |  |  |

Do not infer electrical capacity from appearance alone. Use approved electrical records and qualified electrical measurements where required.

03 - COOLING, FIRE AND ENVIRONMENT

# Environmental Readiness

| ☐ Cooling system type identified | ☐ Active cooling units / capacity references recorded |
| --- | --- |
| ☐ Supply / return airflow direction observed | ☐ Hot spots or blocked airflow observed |
| ☐ Temperature / humidity monitoring present | ☐ Leak detection present where applicable |
| ☐ Fire detection devices identified | ☐ Fire suppression system identified where applicable |
| ☐ Extinguishers / emergency equipment locations noted | ☐ Room penetrations / fire stopping condition checked |
| ☐ Lighting condition adequate | ☐ Environmental alarms / BMS integration identified |

| Item | Location / ID | Status | Reading / Reference | Remarks |
| --- | --- | --- | --- | --- |
| Cooling unit 1 |  |  |  |  |
| Cooling unit 2 |  |  |  |  |
| Temperature / humidity sensor |  |  |  |  |
| Leak detection |  |  |  |  |
| Fire detection / suppression |  |  |  |  |
| BMS / environmental monitoring |  |  |  |  |

AIRFLOW OBSERVATIONS

| Rack / Area | Front / Intake Condition | Rear / Exhaust Condition | Blanking / Sealing | Issue / Action |
| --- | --- | --- | --- | --- |

04 - CABLING, FIBER AND PATHWAYS

# Passive Infrastructure Survey

| ☐ Main cable pathways identified | ☐ Tray / ladder / basket capacity observed |
| --- | --- |
| ☐ Copper and fiber routes recorded | ☐ Power / data separation checked |
| ☐ Pathway penetrations and fire stopping checked | ☐ Backbone entry / meet-me point identified |
| ☐ Patch panels / fiber panels inventoried | ☐ Fiber connector / cassette / adapter types recorded |
| ☐ Copper category and termination type recorded | ☐ Spare ports / fibers / cores recorded |
| ☐ Labeling convention reviewed | ☐ Existing cable management condition photographed |

| From | To | Medium | Qty / Cores | Panel / Port | Route | Spare | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |

PATCH PANEL / FIBER PANEL INVENTORY

| Rack | Panel ID | Type | Capacity | Used | Free | Connector / Category | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |

For any existing link that will be reused, capture both endpoints, identifiers, media type, route, and test/verification requirement. Avoid relying on visual tracing alone when records are available.

05 - NETWORK, SECURITY AND MANAGEMENT

# Active Infrastructure and Operations

| ☐ Core / distribution / access devices inventoried | ☐ Server / storage devices relevant to scope inventoried |
| --- | --- |
| ☐ Management network availability recorded | ☐ Console / OOB access method identified |
| ☐ Uplink media and speeds recorded from approved config | ☐ Available switch / device ports recorded |
| ☐ Firewall / security interfaces relevant to scope identified | ☐ CCTV coverage / access-control constraints noted |
| ☐ IP addressing / VLAN information requested | ☐ Monitoring / NMS / DCIM tools identified |
| ☐ Remote support / vendor access constraints recorded | ☐ Change / maintenance process confirmed |

| Device / System | Make / Model | Rack / U | Mgmt / OOB | Uplink / Media | Power A/B | Relevant Notes |
| --- | --- | --- | --- | --- | --- | --- |

DCIM / ASSET AND DOCUMENTATION BASELINE

| ☐ Rack inventory exists | ☐ Device inventory exists |
| --- | --- |
| ☐ Port / cable records exist | ☐ IPAM / VLAN records exist |
| ☐ Rack elevations exist | ☐ Power mapping exists |
| ☐ Floor / pathway drawings exist | ☐ As-built drawings exist |
| ☐ Asset tags / serials are traceable | ☐ Backup / export of current records available |

06 - EVIDENCE, GAPS AND HANDOVER

# Survey Closeout

REQUIRED PHOTO RECORD

| Photo Ref | Subject / Area | Required View / Detail | Captured | Notes |
| --- | --- | --- | --- | --- |
| P01 | Room overview | Entry / full room / rack rows | ☐ |  |
| P02 | Rack fronts | Each rack / cabinet identification | ☐ |  |
| P03 | Rack rears | Power, cabling and airflow | ☐ |  |
| P04 | Power | DB / UPS / PDU / circuit labels | ☐ |  |
| P05 | Cooling | Cooling units / airflow / sensors | ☐ |  |
| P06 | Pathways | Tray / ladder / penetrations / entries | ☐ |  |
| P07 | Panels | Copper / fiber panels and labels | ☐ |  |
| P08 | Constraints | Access, space, damage, risk or obstruction | ☐ |  |

OPEN ITEMS / RISKS / ACTIONS

| No. | Observation / Gap | Impact / Risk | Required Action | Owner | Target Date | Status |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |

SURVEY COMPLETION

| ☐ Measurements reviewed | ☐ Photos indexed |
| --- | --- |
| ☐ Rack / device inventory checked | ☐ Power information checked |
| ☐ Cabling / pathway information checked | ☐ Open items recorded |
| ☐ Customer clarifications listed | ☐ Sensitive information removed from public copy |

| Surveyor Name / Signature | ________________________________ | Date | ________________________________ |
| --- | --- | --- | --- |
| Customer / Site Representative | ________________________________ | Date | ________________________________ |

This checklist records observed site conditions and available information; it is not, by itself, a design approval, electrical certification, safety certification, or final acceptance record.